Perinuclear Lipid Droplet Quantification

Complete Reproducible Protocol

H&E Stained Rat Liver Whole Slide Images (.svs)

Python (LiverQuant) + QuPath Pipeline

# 1. Overview

This protocol quantifies perinuclear lipid droplets in rat liver H&E whole slide images (.svs format) using a two-tool pipeline: Python/LiverQuant for fat globule detection, and QuPath for nucleus detection and perinuclear spatial analysis.

Key definitions:

- Fat globule (lipid vacuole): a round white/clear hole in the liver cell where fat dissolved out during tissue processing

- Perinuclear: droplets within 8 µm of the nucleus (surrounds the nucleus — early steatosis sign)

- Macrovesicular: large droplets >25 µm (pushes nucleus to cell edge — severe steatosis)

- SPA (Steatosis Proportionate Area): % of tissue area occupied by fat globules

# 2. Software Requirements

## 2.1 Python Environment

- Anaconda (base environment — no separate environment needed)

- Python 3.9+

- numpy == 1.26.4 (critical — newer versions cause import errors)

- liverquant

- openslide-python + openslide-bin

- cv2geojson

- opencv-python

Install all packages in Anaconda terminal (base):

pip install "numpy==1.26.4" --force-reinstall

pip install liverquant openslide-bin openslide-python cv2geojson opencv-python

NOTE: If you see 'numpy.core.multiarray failed to import', run the numpy downgrade command above and restart Spyder.

## 2.2 QuPath

- QuPath v0.4.3 or later (free — qupath.github.io)

- Minimum 16 GB RAM recommended (32 GB for large slides)

- Set QuPath memory: Edit > Preferences > General > Maximum memory = 24000 MB

# 3. Script Files

| Script File | Tool | Purpose |
| --- | --- | --- |
| liverquant_run_each_slide.py | Python / Spyder | Detects all fat globules, classifies perinuclear vs macrovesicular, exports GeoJSON + CSV |
| QuPath_Fast_GeoJSON.groovy | QuPath | Loads GeoJSON from Python, detects nuclei, spatial perinuclear matching, exports CSV |

# 4. Step 1 — Python Analysis

## 4.1 Configure the Script

Open liverquant_run_each_slide.py in Spyder. Change only this one line at the top:

SLIDES_FOLDER = r"C:\your\folder\path"

All other settings are pre-configured. Key detection parameters:

| Parameter | Default Value | Description |
| --- | --- | --- |
| LOWERB | [0, 0, 200] | HSV lower bound for white vacuole detection |
| UPPERB | [180, 30, 255] | HSV upper bound — raise middle value if missing vacuoles |
| MIN_DIAMETER | 8 µm | Minimum droplet size — raise to reduce noise |
| MAX_DIAMETER | 80 µm | Maximum droplet size — reduces vessel false positives |
| PERINUCLEAR_MAX_DIA | 25 µm | Droplets <= this size are classified as perinuclear |
| DOWNSAMPLE | 2 | 1=full resolution (slow), 2=recommended, 4=fast testing only |
| CORES | 4 | CPU cores to use — match your PC core count |

## 4.2 Run the Script

- Open Spyder (Anaconda Navigator)

- File > Open > select liverquant_run_each_slide.py

- Press F5 to run

- Watch the console — each slide prints progress as it processes

NOTE: For 90 GB of data (~180 slides), run overnight in batches of 20-30 slides by changing SLIDES_FOLDER each night.

## 4.3 Python Output Files

- Desktop/PerinuclearLipid_Results.csv — one row per slide with all measurements

- Desktop/geojson_outputs/*.geojson — one GeoJSON file per slide (fat globule coordinates for QuPath)

## 4.4 Python CSV Columns

| Column | Meaning |
| --- | --- |
| Slide Name | File name of the .svs slide |
| Total Fat Globules | All lipid vacuoles detected in the tissue |
| Perinuclear Globules | Small droplets <= 25 µm (surrounds nucleus) |
| Macrovesicular Globules | Large droplets > 25 µm (pushes nucleus to edge) |
| Overall SPA (%) | % of total tissue area that is fat |
| Perinuclear SPA (%) | % of tissue area that is perinuclear fat specifically |
| Perinuclear Globule % | % of all detected globules that are perinuclear |
| Run Time (s) | Processing time in seconds for that slide |

# 5. Step 2 — QuPath Analysis

## 5.1 Set Up QuPath Project

- Open QuPath

- File > Project > Create Project > select a new empty folder

- Add images > select all your .svs files at once

- For EVERY slide: right-click > Edit properties > Image type > Brightfield (H&E)

WARNING: If image type is not set to Brightfield (H&E), tissue detection will fail and the slide will be skipped.

## 5.2 Increase QuPath Memory

- Edit > Preferences > General

- Set Maximum memory to 24000 MB

- Click OK and completely restart QuPath

## 5.3 Run the Script

- Automate > Script Editor

- File > Open > select QuPath_Fast_GeoJSON.groovy

- Click Run > Run for Project

NOTE: Run for Project loops through ALL slides automatically. Do NOT use plain Run — that only processes the currently open slide.

## 5.4 QuPath Processing Steps (per slide)

For each slide, the script performs:

- Tissue detection — excludes glass slide background

- Load GeoJSON from Python — imports fat globule coordinates (skips re-detection)

- Nucleus detection — detects dark purple hematoxylin-stained nuclei

- Spatial matching — expands each nucleus by 8 µm and counts overlapping fat globules

- Export results — appends one row to CSV on Desktop

If no GeoJSON file is found for a slide, QuPath automatically falls back to detecting vacuoles directly. This is indicated by 'No' in the GeoJSON Used column of the CSV.

## 5.5 QuPath Key Parameters

| Parameter | Value | Description |
| --- | --- | --- |
| EXPANSION_MICRONS | 8.0 µm | Zone around each nucleus to search for lipid droplets |
| Nucleus min area | 15 µm² | Minimum nucleus size — filters debris |
| Nucleus max area | 400 µm² | Maximum nucleus size — excludes large artifacts |
| Vacuole min area | 20 µm² | Only if GeoJSON missing (fallback mode) |
| Circularity threshold | 0.5 | Filters non-circular objects like vessels |

## 5.6 QuPath CSV Columns

| Column | Meaning |
| --- | --- |
| Image Name | File name of the .svs slide |
| Total Nuclei | Number of hepatocyte nuclei detected |
| Nuclei With Perinuclear Lipid | Number of cells with at least one droplet in zone |
| % Nuclei With Lipid | Key steatosis measure — % of cells affected |
| Total Perinuclear Droplets | Total count of droplets within 8 µm of any nucleus |
| Avg Droplets per Nucleus | Mean number of droplets per hepatocyte |
| Total Perinuclear Lipid Area (um2) | Total area of perinuclear lipid in µm² |
| Avg Lipid Area per Nucleus (um2) | Mean lipid burden per hepatocyte in µm² |
| Avg Droplet Size (um2) | Mean size of individual perinuclear droplets |
| Tissue Area (um2) | Total detected tissue area in µm² |
| GeoJSON Used | Yes = Python GeoJSON loaded; No = direct detection |

# 6. Interpreting Results — Steatosis Grading

SPA (Steatosis Proportionate Area) maps to clinical grading:

| SPA % | Grade | Clinical Meaning |
| --- | --- | --- |
| < 5% | Grade 0 | Normal — no significant steatosis |
| 5 – 33% | Grade 1 | Mild steatosis |
| 33 – 66% | Grade 2 | Moderate steatosis |
| > 66% | Grade 3 | Severe steatosis |

# 7. Troubleshooting

| Error | Cause | Fix |
| --- | --- | --- |
| ModuleNotFoundError: liverquant | Wrong Python environment | Make sure Spyder is using base environment. Test: import liverquant in console. |
| numpy.core.multiarray failed | numpy version too new | Run: pip install "numpy==1.26.4" --force-reinstall, then restart Spyder |
| OpenSlide DLL not found | Missing DLL files on Windows | Run: pip install openslide-bin, then restart Spyder |
| GeoContour has no attribute contour | Wrong attribute name | Change gc.contour to gc.area(resolution=1) on relevant lines |
| IndentationError in script | Script pasted incorrectly | Always use File > Open to load scripts — never copy-paste |
| No tissue detected in QuPath | Wrong image type setting | Right-click slide > Edit properties > Brightfield (H&E) |
| QuPath stuck on one slide >1hr | Insufficient memory | Edit > Preferences > set memory to 24000 MB, restart QuPath |
| WatershedCellDetection not found | Wrong package path | Use qupath.imagej.detect.cells not qupath.imagej.detect.nuclei |
| SimpleTissueDetection2 error | Wrong parameter name | Use maxHoleAreaMicrons not minHoleAreaMicrons |

# 8. Running the Full 90 GB Dataset

## 8.1 Recommended Batch Strategy

- Split slides into batches of 20-30 per night

- Change SLIDES_FOLDER in Python script for each batch

- Results automatically append to the same CSV — no manual merging needed

- Set Windows sleep to Never: Settings > Power > Sleep > Never

## 8.2 Estimated Processing Times

| Slides | Python Time | QuPath Time | Total |
| --- | --- | --- | --- |
| 4 slides (test) | ~30 min | ~40 min | ~1.5 hours |
| 30 slides (1 night) | ~4 hours | ~5 hours | ~9 hours |
| 180 slides (90 GB) | ~2 days | ~2 days | ~4 days total |

NOTE: Times assume DOWNSAMPLE=2 and 4 CPU cores. Use DOWNSAMPLE=1 for final publication results (doubles time).

# 9. Validating Your Results

Before running the full dataset, visually validate detection accuracy on your test slides:

- In QuPath, open any slide

- File > Import > GeoJSON annotations

- Select the matching _detections.geojson from Desktop/geojson_outputs/

- Check overlays: green = perinuclear droplets, orange = macrovesicular, blue = tissue boundary

- Zoom to 20x-40x and confirm green outlines sit inside white vacuoles

- If too many false positives: raise MIN_DIAMETER or lower UPPERB[1] in Python script

- If too many vacuoles missed: lower MIN_DIAMETER or raise UPPERB[1] in Python script

Protocol generated with Claude (Anthropic) — March 2026